**FAQ 6 (voir aussi FAQ 10)**

**Colonne d’arthroscopie (bloc opératoire)**

**- voulez-vous seulement le chariot + la caméra + la source lumineuse + le moniteur ou doit-on également faire un devis pour les accessoires (ex : optique (si oui, quel diamètre), câbles, gaine arthroscopique, pompe d'irrigation… bien vouloir faire une liste si possible).**

Colonne de vidéo à usage mixte (urologie et traumatologie). Chariot à 4 étage, source de lumière LED, processeur vidéo Full HD, tet de camera, écran FULL HD, le tout adaptable pour l'arthroscopie et urologie

Il nous est difficile de donner des réponses précises car beaucoup dépend du type de matériel que vous allez proposer, mais pour vous donner une idée il nous faut pour les matériels pour chirurgie arthroscopique pour des model STORZ ou OLYMPUS ou équivalent :

Matériel pour Colonne d’arthroscopie :

* 01 Générateur de lumière froide
* 03 Câble de lumière froide
* 01 Tête de camera (ou d’optique) et unité de contrôle de l’optique diamètre de 4mm + 3mm + 2mm +1mm
* 01 Moniteur Ecran HD
* 01 Matériel d’enregistrement vidéo et imprimante d’images chirurgicale
* 01 Arthropompe : système d’irrigation avec 04 tubulures d’irrigation
* 01 Arthro-shaver : générateur et 03 shaver + pédale de shaver
* 01 Générateur de radiofréquence (coagulation + Vaporisateur VAPR)
* **Accessoires :** 
  + Couteaux de Shaver,
  + Fraises : plate, ronde, acromion
  + Bistouri électrique VAPR arthroscopiques
  + Système de traction épaule pour arthroscopie
  + Doigtiers japonais : petite moyenne et grande

# 03 Boites de l’instrumentation de base pour arthroscopie contenant chacune :

# 01 Manche Bistouri N°4 pour lame

# 01 pince à disséquer à griffer

# 02 Porte-aiguilles (Petite et moyenne)

# 02 Pince KOCHER (avec griffe et sans griffe)

# 02 Pince HALSTEAD (sans griffe et avec griffe)

# 01 Paire de ciseau MAYO

# 01 Paire de Ciseau Droite

# 01 chemise d’arthroscope

# 01 trocart d’arthroscope

# 01 Canule d’évacuation

# 01 Crochet Palpeur

# 02 pinces Préhensives

**Matériel d’arthroscopie du genou**

|  |  |
| --- | --- |
| **N°** | **Instruments** |
|  | Arthroscope HD, 30° 4 x 152.5 mm |
|  | Conical Obturator 4 mm Scope Sheath w/Handle (mandrin) |
|  | Probe, Hook 3.4 mm Tip w/5 mm Markings |
|  | Stopcock, Double, Spare, for Synergy Sheath (chemise) |
|  | Grasper, Blunt Straight Tip, ø3.4 mm Straight Shaft w/SR Handle (croco) |
|  | Suture Retriever, ø3.4 mm, Straight (démêlé fil) |
|  | Punch, Medium 45° Right Tip, ø3.4 mm, 220 mm Straight Shaft |
|  | Punch, Meniscal WideBiter Left Tip, ø3.5 mm Straight Shaft |
|  | Punch, Meniscal WideBiter Left Tip, ø3.5 mm Straight Shaft |
|  | MegaBiter, Curved Tip, 5.5 mm x 2.5 mm |
|  | Punch, Medium Straight Tip, ø3.4 mm 15° Up Curved Shaft, 220 mm |
|  | Grasper, Alligator Hook Tip, ø3.4 mm Straight Shaft w/SR Handle |
|  | FiberTape Cutter |
|  | Meniscal Cinch, Curved Tip, sterile |

|  |
| --- |
| **Boites d’instrumentation dédiée** |
| Meniscal Resection and Repair system set w/case |
| Arthroscopic meniscectomy hand instrument set |
| ACL ToolBox Instrument Set |
| Chondro Pick Set |

**Matériel d’arthroscopie d’épaule**

|  |  |
| --- | --- |
| **N°** | **Instruments** |
|  | Arthroscope HD, 30° 4 x 152.5 mm |
|  | Stopcock, Double, Spare, for Synergy Sheath (chemise) |
|  | Conical Obturator 4 mm Scope Sheath w/Handle (mandrin) |
|  | Probe, Hook 4.8 mm, 220 mm Shaft |
|  | Knot Pusher, closed end |
|  | Suture Retriever, ø3.4 mm, Straight (démêlé fil) |
|  | Grasper, Blunt Straight Tip, ø3.4 mm Straight Shaft w/SR Handle (croco) |
|  | Punch, Meniscal WideBiter Left Tip, ø3.5 mm Straight Shaft |
|  | Punch, Meniscal WideBiter Right Tip, ø2.75 mm Straight Shaft |
|  | Punch, Medium 45° Left Tip, ø3.4 mm, 220 mm Straight Shaft |
|  | Punch, Slender Straight Tip, ø2.75 mm Straight Shaft |
|  | Punch, Medium Straight Reverse Tip, ø3.4 mm, 220 mm Straight Shaft |
|  | FiberTape Cutter |
|  | MegaBiter, Curved Tip, 5.5 mm x 2.5 mm |
|  | Rasp, 220 mm Shaft |
|  | Grasper, Loose Body, ø4.2 mm, Straight Shaft w/NR Handle |
|  | Tissue Elevator, 30°, 220 mm Shaft |
|  | Curette, One Side Cut, 5.4 mm Ring, 220 mm Shaft |
|  | FastPass Scorpion |
|  | Shoulder repair set 1 |
|  | Shoulder repair set 2 |
|  | QuickPass Suture Lasso |

**Matériel d’arthroscopie des Petites articulations**

|  |  |  |
| --- | --- | --- |
|  | | **Instruments** |
| Probe, Hook, Small Joint | |
| Centerline Carpal Tunnel Scope, 30° 2.9 x 158 mm | |
| Arthroscope, 30° 2.7 x 72 mm | |
| Arthroscope, 30° 1.9 x 58 mm | |
| Conical Obturator for 2.7 mm Scope Sheath w/Handle | |
| Stopcock, Double, Spare, for Synergy Sheath (chemise) | |
| Finger trap, small, sterile | |
| Finger trap, medium, sterile | |
| Finger trap, large, sterile | |
| Finger trap, X-large, sterile | |
| Wrist traction tower | |
| Small Joint Arthroscopy Hand Instrument Set | |
| Ankle Arthroscopy Instrument Set | |